# Rossendale Drum Majorettes

## 1. Fire Safety Policy

### 1.1 Purpose

This Fire Safety Policy aims to ensure the safety of all committee members, volunteers, and majorettes. It demonstrates Rossendale Drum Majorettes’ commitment to continuously improving fire safety standards at Whitewell Bottom Community Centre (or any other venue used).

The policy is based on the legal requirements outlined in:

- The Regulatory Reform (Fire Safety) Order 2005

- Health and Safety at Work etc. Act 1974

- The Management of Health and Safety at Work Regulations 1999 (as amended)

### 1.2 Responsibilities

The Rossendale Drum Majorettes Committee is responsible for ensuring:

- Fire prevention measures are in place to minimise the risk of fire.

- Fire safety procedures are clearly communicated and followed.

- All members, volunteers, and staff are aware of their roles during an emergency.

### 1.3 Commitment

All members, volunteers, and visitors must cooperate with the venue’s fire safety arrangements and actively participate in fire drills and safety briefings.

## 2. Related Policies and Documents

This policy should be read in conjunction with:

- Whitewell Bottom Community Centre Health and Safety Policy

- Whitewell Bottom Community Centre Risk Assessment Procedure

This policy will be made available to all committee members, volunteers, and majorettes.

## 3. Fire Drills and Training

- Fire drills will be conducted at least twice per year.

- Every member must participate in at least one drill per year.

- Drills will include practicing the emergency evacuation procedures and accommodating any personal evacuation needs.

- Effectiveness of the evacuation will be reviewed after each drill to identify any issues.

- A record of all drills will be maintained by the Committee.

# Emergency Fire Action Plan

In accordance with Whitewell Bottom Community Centre’s Fire Safety Policy, this action plan details how all users can evacuate safely and how emergency services will be supported during a fire.

### 1. Detection of Fire

- The building is fitted with an automatic fire detection system that triggers a loud, continuous alarm.

- Fire can also be reported manually by activating a fire call point (break glass).

### 2. If You Discover a Fire

- Sound the alarm by breaking the nearest fire alarm call point.

- Do not attempt to fight the fire unless you are trained and it is safe to do so.

- Evacuate immediately:

  - Remove any equipment from your person and leave it behind.

  - Exit the building calmly using the nearest safe fire exit.

  - Group Leaders should assist and direct members to the designated muster point.

- The Duty Employee or Volunteer:

  - Will check the fire alarm control panel (if safe to do so) to identify the source of the alarm.

  - Will call 999 and guide emergency services on arrival.

  - Will collect the sign-in book/register for a roll call at the muster point.

### 3. At the Muster Point

- Stay at the muster point and wait for further instruction.

- Do not return to the building until officially cleared to do so.

- Keep car park entrances clear for emergency vehicle access.

### Record of Drills

| Date of Drill | Time of Drill | Number of Participants | Duration of Evacuation | Location of Drill | Observations / Issues Identified | Actions Taken | Person Responsible |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 10/06/2025 | 18:45 | 19 | 3 minutes | Whitewell centre | None | Parents list needed | Simon |

| Version | Author/Reviewer | Date | Comments |
| --- | --- | --- | --- |
| RDM_FS_A | Emma Carrick | April 2021 | Initial draft |
| RDM_FS_B | Emma Carrick | May 2021 | Revised draft |
| RDM_FS_C | Emma Mainwaring | April 2024 | Content review |
| RDM_FS_D | Emma Mainwaring | May 2025 | Content review & key changes |

## Fire Safety Policy for Young Members

### 1. Why Fire Safety is Important

We want everyone to be safe if there is a fire. This policy helps us all know what to do to keep safe.

### 2. What to Do If You See Fire or Hear the Alarm

- Stop what you are doing.

- Listen carefully to your leader.

- Leave your things behind — do not try to take anything with you.

- Follow your leader to the nearest fire exit.

- Walk quickly but don’t run.

- Go to the meeting place outside (muster point).

- Stay calm and wait quietly.

### 3. Who Helps You?

- Your group leaders and volunteers will help you leave the building safely.

- They will make sure everyone is together and safe at the meeting place.

### 4. Fire Drills

- We practice fire drills twice a year.

- These are practice runs so you know what to do if there is a real fire.

- Everyone must take part and listen carefully during drills.

### 5. Remember

- Never hide during a fire alarm.

- Never go back inside until your leaders say it’s safe.

- Fire safety is everyone’s job.

| Version | Author/Reviewer | Date | Comments |
| --- | --- | --- | --- |
| RDM_CFS_A | Emma Mainwaring | May 2025 | Initial draft |